ADAPTER WITH CAP

Task Force Tips model # A01AR-IF reducing adapter with blind cap shall be provided. The adapter and cap shall be constructed of hardcoat anodized aluminum alloy for corrosion protection. The adapter shall have 2-1/2 female Task Force Tips Code-AR thread inlet and 1-1/2” male NPSH thread outlet. The cap shall have 1-1/2" female NPSH thread and cable lanyard with eye hole. The unit shall be covered by a five-year warranty.