BLIND CAP

Task Force Tips model # A01J blind cap shall be provided. The cap shall be constructed of hardcoat anodized aluminum alloy for corrosion protection. The cap shall have 2-1/2" female Task Force Tips Code J thread and cable lanyard with eye hole. The unit shall be covered by a five-year warranty.