BLIND CAP

Task Force Tips model # A01NF-PA blind cap shall be provided. The cap shall be constructed of hardcoat anodized aluminum alloy for corrosion protection. The cap shall have 1-1/2" female NH thread and cable lanyard with eye hole. A 1/4" female NPT threaded hole shall be provided in the center of the cap. The unit shall be covered by a five-year warranty.