BLIND CAP

Task Force Tips model # A01NT blind cap shall be provided. The cap shall be constructed of hardcoat anodized aluminum alloy for corrosion protection. The cap shall have 5" female NH thread, rocker lugs, and cable lanyard with eye hole. The unit shall be covered by a five-year warranty.