Storz BLIND CAP

Task Force Tips model #A01SP lightweight, heat treated aluminum 4" Storz cap with suction gasket shall be provided. An 18" lanyard with 1/4" eyelet for attachment shall also be supplied. Cap is provided without locking lever. The unit shall be covered by a five-year warranty.