BLIND PLUG

Task Force Tips model # A05M blind plug shall be provided. The plug shall be constructed of hardcoat anodized aluminum alloy for corrosion protection. The plug shall have 2-1/2" male Task Force Tips Code M thread, rocker lugs, and cable lanyard with eye hole. The unit shall be covered by a five-year warranty.