REPAIR KIT

Task Force Tips model # A1082-KIT valve seat kit shall be provided. The seal kit shall be designed for AX series jumbo ball intake valves.