REPAIR KIT

Task Force Tips model # A1621-KIT vent-drain kit shall be provided. The kit shall include a lever style vent-drain valve with 3/4" NPT male threads and 1/2" male barbed hose connection. The kit shall be designed to fit Task Force Tips ball intake valves. The unit shall be covered by a 5-year warranty.