PRESSURE RELIEF VALVE

Task Force Tips model #A1820 pressure relief valve shall be provided. The valve shall have an easy to read adjustment range from 90 to 300 PSI with easy to read 90, 125, 150, 200, 250, 300 psi settings and an “OFF” position. Pressure adjustment can be made utilizing a ¼” hex key, 9/16” socket or 14mm socket. For corrosion resistance the cast aluminum valve shall be hardcoat anodized with a powder coat interior and exterior finish. The unit shall have a galvanic isolator to mitigate the effects of corrosion. The valve shall be configured for either a Waterous or Hale pump, and have a 2" male NPT threaded discharge outlet. The valve shall meet NFPA 1901 requirements for pump inlet relief valve. The unit shall have a unique serial number and be covered by a five-year warranty.