SPANNER WRENCH SET BRACKET

A Task Force Tips model #A3842 spanner wrench mounting bracket shall be provided. The bracket shall be capable of holding two (2) lightweight aluminum universal spanner wrenches model # A3813. Bracket shall be made from lightweight cast aluminum alloy. Mounting bracket  shall have quick, snap action releases. The unit shall be covered by a five-year warranty.

Location of mounting bracket shall be: