SPANNER & HYDRANT WRENCH SET BRACKET

A Task Force Tips model #A3843 spanner and hydrant wrench bracket shall be provided. The bracket shall be capable of holding two (2) lightweight aluminum universal spanner wrenches model # A3813 and one (1) adjustable hydrant wrench model # A3835 or A3800. Bracket shall be made from lightweight cast aluminum alloy and have quick, snap action releases. The unit shall be covered by a five-year warranty.

Location of mounting bracket shall be: