SPANNER & HYDRANT WRENCH SET

A Task Force Tips model #A3845 spanner & hydrant wrench set shall be provided. The set shall include two (2) lightweight aluminum universal spanner wrenches model # A3813 and one (1) single head adjustable hydrant wrench model # A3835. Spanner wrench shall be made from lightweight cast aluminum alloy. Spanner shall fit most 1” through 6” rocker lug, Storz, long handle and short handle couplings. Features shall include window jimmy, gas cock slot, and hammer head. Hydrant wrench shall have a manganese bronze head, plated steel handle, and have a high visibility grip and shall be for use on square or pentagon hydrant nuts. Compact spanner claw shall fit pin and rocker lug couplings.  Mounting bracket model # A3843 shall have quick, snap action releases and shall be included. The unit shall be covered by a five-year warranty.

Location of mounting bracket shall be: