SPANNER & HYDRANT WRENCH SET

A Task Force Tips model #A3850 spanner & hydrant wrench set shall be provided. The set shall include two (2) lightweight aluminum universal spanner wrenches model # A3813 and one (1) dual head adjustable hydrant wrench model # A3800. Spanner wrench shall be made from lightweight cast aluminum alloy. Spanner shall fit most 1” through 6” rocker lug, Storz, long handle and short handle couplings. Features shall include window jimmy, gas cock slot, and hammer head. Dual- headed hydrant wrench shall be made of hardcoat anodized aluminum allow with knurled grip and shall be for use on square or pentagon hydrant nuts. Large hook type spanner shall fit most 4”, 5”, and 6” Storz couplings. Small spanner claw shall fit 2-1/2” rocker lug couplings.  Mounting bracket model # A3843 shall have quick, snap action releases and shall be included. The unit shall be covered by a five-year warranty.

Location of mounting bracket shall be: