REPAIR KIT

Task Force Tips model # A4116-KIT coupling kit shall be provided. The kit shall be designed for TFT LDH series hardware and shall include a 6" Storz coupling, gasket, cup seal, plastic strip, plastic strip removal tool, and instructions.