STORZ GASKET KIT

Task Force Tips model # A4216-KIT 4” Storz suction gasket kit shall be provided. The kit shall be designed for Task Force Tips 4” Storz couplings. The kit shall include the gasket, lubricant, and instructions.