DOUBLE FEMALE ADAPTER

Task Force Tips model #AA10IF-TH adapter shall be provided. For corrosion resistance, the adapter shall be constructed of hardcoat anodized aluminum alloy and include stainless steel ball bearings to prevent corrosion. The adapter shall meet a 900 PSI hydrostatic test and comply with the current NFPA 1964 Standard. The adapter shall be configured with a 1-1/2” female NPSH swivel rocker lug coupling and a 2” female NPT rigid rocker lug coupling. The unit shall be covered by a five-year warranty.