STORZ ADAPTER

Task Force Tips model #AA1SP-EC adapter shall be provided. For corrosion resistance, the adapter shall be constructed of hardcoat anodized aluminum alloy. The adapter shall meet a 900 PSI hydrostatic test and comply with the current NFPA 1964 Standard. The adapter shall be configured with a 4” rigid Storz coupling and a 4" female Task Force Tips Code-EC rigid rocker lug coupling. The unit shall be covered by a five-year warranty.