ADAPTER

Task Force Tips model #AA5AF-S adapter shall be provided. For corrosion resistance, the adapter shall be constructed of hardcoat anodized aluminum alloy. The adapter shall be configured with a 2-1/2" female Task Force Tips Code-AF rigid rocker lug and a 2-1/2" male Task Force Tips Code-S rigid threads. The unit shall be covered by a five-year warranty.