ADAPTER

Task Force Tips model #AA5EI-NX adapter shall be provided. For corrosion resistance, the adapter shall be constructed of hardcoat anodized aluminum alloy. The adapter shall be configured with a 4" female Task Force Tips Code-EI rigid rocker lug and a 6" male NH rigid threads. The unit shall be covered by a five-year warranty.