ADAPTER

Task Force Tips model #AA5HNR-DB adapter shall be provided. For corrosion resistance, the adapter shall be constructed of hardcoat anodized aluminum alloy. The adapter shall meet a 900 PSI hydrostatic test and comply with the current NFPA 1964 Standard. The adapter shall be configured with a 4-1/2" female NH rigid long handle coupling and a 4-1/2" male Task Force Tips Code-DB rigid threads. The unit shall be covered by a five-year warranty.