ADAPTER

Task Force Tips model #AA5IF-TF adapter shall be provided. For corrosion resistance, the adapter shall be constructed of hardcoat anodized aluminum alloy. The adapter shall be configured with a 1-1/2" female NPSH rigid rocker lug and a 1-1/2" male NPT rigid threads. The unit shall be covered by a five-year warranty.