ADAPTER

Task Force Tips model #AA5IL-NP adapter shall be provided. For corrosion resistance, the adapter shall be constructed of hardcoat anodized aluminum alloy. The adapter shall be configured with a 3" female NPSH rigid rocker lug and a 4" male NH rigid threads. The unit shall be covered by a five-year warranty.