ADAPTER

Task Force Tips model #AA5M-GHT adapter shall be provided. For corrosion resistance, the adapter shall be constructed of hardcoat anodized aluminum alloy. The adapter shall be configured with a 2-1/2" female Task Force Tips Code-M rigid rocker lug and a 3/4" male rigid garden hose threads. The unit shall be covered by a five-year warranty.