ADAPTER

Task Force Tips model #AA5Z-Q adapter shall be provided. For corrosion resistance, the adapter shall be constructed of hardcoat anodized aluminum alloy. The adapter shall be configured with a 1-1/2" female Task Force Tips Code-Z rigid rocker lug and a 1-1/2" male Task Force Tips Code-Q rigid threads. The unit shall be covered by a five-year warranty.