ADAPTER

Task Force Tips model #AA6BJ-TJ adapter shall be provided. For corrosion resistance, the adapter shall be constructed of hardcoat anodized aluminum alloy for prevention of corrosion. The adapter shall meet a 900 PSI hydrostatic test and comply with the current NFPA 1964 Standard. The adapter shall be configured with a 2-1/2" male BSP rigid thread and 2-1/2" male NPT rigid thread. The unit shall be covered by a five-year warranty.