ADAPTER

Task Force Tips model #AA6J-IF adapter shall be provided. For corrosion resistance, the adapter shall be constructed of hardcoat anodized aluminum alloy and include a polymer bearing ring for prevention of galvanic corrosion. The adapter shall meet a 900 PSI hydrostatic test and comply with the current NFPA 1964 Standard. The adapter shall be configured with a 2-1/2" male Task Force Tips Code-J rigid thread and 1-1/2" male NPSH rigid thread. The unit shall be covered by a five-year warranty.