ADAPTER

Task Force Tips model #AA6NP-BP double male adapter shall be provided. For corrosion resistance, the adapter shall be constructed of hardcoat anodized aluminum alloy. The adapter shall meet a 900 PSI hydrostatic test and comply with the current NFPA 1964 Standard. The adapter shall be configured with a 4" male NH rigid thread and 4” male BSP rigid thread, with center rocker lugs. The unit shall be covered by a five-year warranty.