DOUBLE FEMALE ADAPTER

Task Force Tips model #AA7AG-AG adapter shall be provided. For corrosion resistance, the adapter shall be constructed of hardcoat anodized aluminum alloy. The adapter shall meet a 900 PSI hydrostatic test and comply with the current NFPA 1964 Standard. The adapter shall be configured with two (2) 2-1/2” female TFT Code AG swivel rocker lug couplings. The unit shall be covered by a five-year warranty.