DOUBLE FEMALE ADAPTER

Task Force Tips model #AA7HNX-EI adapter shall be provided. For corrosion resistance, the adapter shall be constructed of hardcoat anodized aluminum alloy and include a polymer bearing ring for prevention of galvanic corrosion. The adapter shall meet a 900 PSI hydrostatic test and comply with the current NFPA 1964 Standard. The adapter shall be configured with a 6" female NH swivel long handle coupling and a 5" female Task Force Tips Code-EI swivel long handle. The unit shall be covered by a five-year warranty.