INLET COUPLING ADAPTER

Task Force Tips model # AA8F-NF adapter shall be provided. The adapter shall be designed to allow a nozzle inlet to be used with fire hose that has British Instantaneous Couplings. The adapter shall be configured with a 1-1/2" male BIC coupling and a 1-1/2" male NH thread. The unit shall be covered by a five-year warranty.