30 DEGREE ELBOW

Task Force Tips model #AH3ST-TX 30 degree elbow shall be provided. For corrosion resistance, the elbow shall be constructed of hardcoat anodized aluminum alloy, have a silver powder coat finish inside and out and include a polymer bearing ring for prevention of galvanic corrosion.

An eyelet attachment point shall be provided for securing the lanyard or chain for the cap or plug. The elbow shall meet a 900 PSI hydrostatic test and comply with the current NFPA 1964 Standard. The unit shall be covered by a five-year warranty.

The elbow shall be configured with a 5" rigid Storz coupling and a 6" female NPT swivel rocker lug coupling. The Storz coupling shall be easily configurable to swivel from rigid.