LDH WATER THIEF

A Task Force Tips model # AL15R2T0 water thief shall be provided. The unit shall be configured with a 4-1/2" female NH swivel long handle inlet and a 5” Storz outlet, two (2) 2-1/2" male NH outlets. The side outlets shall have quarter-turn aluminum ball valves with full 2-1/2" waterway, and color-coded folding Nylon handles with auto-lock feature. A carrying/dragging strap shall be standard. The unit shall be equipped with a blank plate where an adjustable pressure relief valve can be installed. For corrosion resistance the unit shall be hardcoat anodized and shall have a durable silver powder coat interior and exterior finish. The unit shall have a unique serial number and be covered by a five-year warranty.