HYDRANT ASSIST/RELAY VALVE STORAGE BRACKET

Task Force Tips model # AR-BRACKET hydrant assist valve bracket shall be provided. The bracket shall be stainless steel, have mounting holes, and include a locking mechanism for securing a TFT Hydrant Assist/Relay valve. The unit shall have a 5-year warranty.