SIAMESE APPLIANCE

Task Force Tips model # AS9NJ-NJ lightweight aluminum Siamese appliance shall be provided. The appliance shall be NFPA compliant with a 900 PSI hydrostatic test rating. A clapper valve shall be centrally located at the inlet side of the appliance. The unit will have carbide tipped spikes.

For maximum corrosion protection the aluminum casting shall be hardcoat anodized, with stainless steel components. The appliance shall have a red powder coat interior and exterior finish.

The appliance shall be configured with two (2) 2-1/2" female NH swivel rocker lug couplings and a 2-1/2" male NH outlet. The unit shall have a unique serial number and be covered by a five-year warranty.