TEE VALVE

A Task Force Tips model # ATNF-ID tee valve shall be provided. The hardcoat anodized lightweight valve shall be configured with a 1-1/2" female NH rigid inlet, 1-1/2" male NH outlet and 1" male NPSH branch outlet. The branch outlet shall have a stainless steel valve with a Nylon handle. The unit shall have a unique serial number and be covered by a five-year warranty.