JUMBO WYE

Task Force Tips model #AW4ST-ST lightweight aluminum wye appliance shall be provided. The appliance shall have a rugged carrying handle, lanyard attachment anchor point and be NFPA compliant with a 900 PSI hydrostatic test rating.

For maximum corrosion protection the aluminum casting shall be hardcoat anodized,. The appliance shall have a silver powder coat interior and exterior finish.

The appliance shall be configured with two (2) 5" swivel Storz couplings and a 5" swivel Storz coupling and include polymer bearing strips for prevention of galvanic corrosion. The Storz couplings shall be easily configurable as swivel or rigid with a tool. The unit shall have a unique serial number and be covered by a five-year warranty.