GATED WYE

A Task Force Tips model # AYBJ-BF-FTS gated wye shall be provided. The lightweight wye shall be configured with a 2-1/2" female BSP swivel rocker lug inlet which will swivel when tightened, and two (2) 1-1/2" male BSP outlets. The outlets shall have 1/4 turn aluminum ball valves with color-coded Nylon folding handles. For corrosion resistance the valve shall be hardcoat anodized and shall have a durable silver powder coat interior and exterior finish. The unit shall have a unique serial number and be covered by a five-year warranty.