GATED WYE

A Task Force Tips model # AYLND-ND gated wye shall be provided. The lightweight wye shall be configured with a 1" female NH swivel inlet and two (2) 1" male NH outlets. The outlets shall have 1/4 turn polymer ball valves with long Nylon handles. For corrosion resistance the valve body shall have a hardcoat anodized finish. The unit shall have a unique serial number and be covered by a five-year warranty.