GATED WYE

A Task Force Tips model # AYSL-SH gated wye shall be provided. The lightweight wye shall be configured with a 75mm Storz swivel inlet and two (2) 52mm Storz outlets. The outlets shall have 1/4 turn aluminum valves with color-coded Nylon folding handles. For corrosion resistance the valve shall be hardcoat anodized and shall have a durable silver powder coat interior and exterior finish. The unit shall have a unique serial number and be covered by a five-year warranty.