GATED WYE

A Task Force Tips model # AYSNJ-NF gated wye shall be provided. The lightweight wye shall be configured with a 2-1/2" female NH swivel rocker lug inlet and two (2) 1-1/2" male NH outlets. The outlets shall have 1/4 turn aluminum ball valves with short hardcoat anodized aluminum alloy handles with color-coded reflective labels. For corrosion resistance the valve shall be hardcoat anodized and shall have a durable silver powder coat interior and exterior finish. The unit shall have a unique serial number and be covered by a five-year warranty.