NOZZLE SHUTOFF

Task Force Tips model # D75DP ball valve shutoff shall be supplied. For corrosion resistance, the valve body shall be constructed from hardcoat anodized aluminum extruded alloy and include a quick change rear valve seat and stainless steel shut off ball. An integral pistol grip handle shall be positioned directly below the valve handle. The waterway shall have a 3/4" diameter unobstructed path.

The couplings shall be configured as a 1" female NH rocker lug swivel inlet and a 1" male NH outlet and be designed for use with either smooth bore stack tip or combination fog/straight stream nozzles. The unit shall have a unique serial number and be covered by a five-year warranty.