NOZZLE WITH SHUTOFF

Task Force Tips model # DS1024P ball shut off nozzle shall be provided. The selectable, dual gallonage nozzle shall be furnished with flow settings of 10 and 24 GPM at 100 PSI and produce a user adjustable fog or straight stream pattern. The nozzle body shall be constructed from hardcoat anodized aluminum alloy, utilize a stainless steel ball shut off valve with a quick change polymer valve seat. An integral pistol grip handle shall be positioned directly below the valve handle. This nozzle shall have a “twist off” position for positive shut off. The nozzle shall be furnished with a 1" female NH swivel rock lug inlet and designed to accept the Task Force Tips FJ-MX-D FoamJet foam aspirating attachment. The unit shall have a unique serial number and be covered by a five-year warranty.