NOZZLE WITH SHUTOFF

Task Force Tips model # DS1040 ball shut off nozzle shall be provided. The selectable, dual gallonage nozzle shall be furnished with flow settings of 10 and 40 GPM at 100 PSI and produce fog and straight stream patterns. The nozzle body shall be constructed from hardcoat anodized aluminum alloy, utilize a stainless steel ball shut off valve with a quick change polymer valve seat. This nozzle shall have a “twist off” position for positive shut off. The nozzle shall be furnished with a 1" female NH swivel rocker lug inlet and designed to accept the Task Force Tips FJ-MX-D FoamJet foam aspirating attachment. The unit shall have a unique serial number and be covered by a five-year warranty.