SMOOTH BORE NOZZLE SET

Task Force Tips model # DSB smooth bore nozzle set shall be provided. The nozzle set shall consist of a 1" female NH hardcoat anodized aluminum coupling with gasket and six (6) interchangeable smooth bore tips in a variety of sizes. The tip sizes are as follows: 1/8", 3/16", 1/4", 5/16", 3/8", and 7/16". The nozzle tips shall be constructed from lightweight black Nylon material. The unit shall be covered by a five-year warranty.