SMOOTH BORE TIP

Task Force Tips model # DSS5-ND smooth bore nozzle tip shall be provided. The nozzle shall be constructed from hardcoat anodized aluminum alloy and have a smooth inside taper. The nozzle tip shall be configured with a 1" female NH inlet and 1/2" bore. Bore and thread size shall be laser engraved on the tip. The unit shall be covered by a five-year warranty.