REPAIR KIT

Task Force Tips model # F140-HRK valve handle repair kit shall be provided. The kit shall be designed for "F" and “J” series Thunderfog nozzles and F140 and J140 ball valves. Tools shall be included.