PISTOL GRIP

Task Force Tips model # F15P pistol grip without shutoff shall be provided. For corrosion resistance, the body shall be constructed from hardcoat anodized aluminum extruded alloy. This unit is designed for use as a pistol grip behind a nozzle.

The couplings shall be configured as a 1-1/2" female NH rocker lug swivel inlet and a 1-1/2" male NH outlet. The unit shall have a unique serial number and be covered by a five-year warranty.