REPAIR KIT

Task Force Tips model # F675-UPGRADE repair kit shall be provided. The kit shall be designed for “F” series Quadra Cup nozzles to upgrade from PVC sleeve to aluminum sleeve.