LOW EXPANSION FOAM ATTACHMENT

Task Force Tips model # FJ-DQ FoamJet air aspirating attachment for low expansion foam production shall be provided. The device shall be designed for use on TFT 1" Quadrafog series nozzles and constructed from molded rubber, stainless steel and nickel plated aluminum. The attachment shall be able to produce a quality foam blanket using most commonly used concentrates and be able to be quickly removed to restore the nozzle to its original configuration. Not intended to produce foam at 5 and 10 gpm (20 and 40 l/min) settings. The unit shall have a unique serial number and be covered by a five-year warranty.