LOW EXPANSION FOAM ATTACHMENT

Task Force Tips model # FJ-H FoamJet air aspirating attachment for low expansion foam production shall be provided. The device shall be designed for use with TFT Handline, Dual-Force and Metro 2 series nozzles and constructed from molded rubber, stainless steel and nickel plated aluminum. The attachment shall be able to produce a quality foam blanket using most commonly used concentrates and be able to be quickly removed to restore the nozzle to its original configuration. The unit shall have a unique serial number and be covered by a five-year warranty.